## Summary sheet
Ops Center | Sq Miles | 34kv Circuit Miles OH | 34kv Circuit Miles UG | Total Circuit Miles | Circuit Miles OH | Circuit Miles UG | Subs | Circuits | Poles | OH Trans. | UG Trans.
Danville | 573 | 2.3715 | 0 | 1355.837 | 88.95% | 11.05% | 40 | 120 | 34230 | 13275 | 2590
Earlington | 1668 | 100.9628 | 0 | 2786.5233 | 96.18% | 3.821% | 127 | 215 | 69128 | 29325 | 1773
E-Town | 463 | 0 | 0 | 940.0274 | 92.21% | 7.794% | 32 | 82 | 27135 | 10212 | 1391
Lexington | 816 | 22.9779 | 0 | 4127.6712 | 70.26% | 29.74% | 74 | 249 | 68656 | 33221 | 20693
Louisville | 700 | 53.2685 | 0.16 | 6257.2885 | 62.11% | 37.89% | 97 | 605 | 143658 | 49882 | 25497
Maysville | 766 | 0 | 0 | 1594.6339 | 89.85% | 10.15% | 30 | 86 | 32933 | 15386 | 2542
Norton | 511 | 38.1422 | 0 | 1172.3204 | 97.05% | 2.953% | 48 | 88 | 27557 | 14764 | 575
Pineville | 959 | 0 | 0 | 2061.7284 | 93.94% | 6.058% | 74 | 166 | 59107 | 27438 | 1136
Richmond | 246 | 2.8127 | 0 | 1035.0891 | 84.16% | 15.84% | 32 | 87 | 23160 | 10704 | 2955
Shelbyville | 598 | 0 | 0 | 1303.9404 | 82.91% | 17.09% | 30 | 71 | 25953 | 11007 | 3363
Total | 7300 | 220.5356 | 0.16 | 22635.0596 | 79.52% | 20.48% | 584 | 1769 | 511517 | 215214 | 62515
| KU | LG&E | ODP | Total
Electric Customers
Gas Customers
Total MWH Sales (000’s)
Total MCF Sales (000’s)
Counties Served | 77 | 17 | 5 | 99
Square Miles | 6089 | 700 | 511 | 7300
Circuit Miles | 15205.4507 | 6257.2885 | 1172.3204 | 22635.0596
Circuit Miles OH vs. UG | 85% vs 15% | 62% vs 38% | 97% vx 3% | 80% vs 20%
Gas Distribution Miles |  | 4290
Gas Transmission Miles |  | 395.99
Substations | 439 | 97 | 48 | 584
Circuits (w/ footage) | 1076 | 605 | 88 | 1769
Circuits (total) | 1119 | 662 | 84 | 1865
Street/Outdoor Lights | 169113 | 87409 | 9536 | 266058
Poles | 340302 | 143658 | 27557 | 511517
OH Transformers | 150568 | 49882 | 14764 | 215214
UG Transformers | 36443 | 25497 | 575 | 62515
Note on E29: LG&E and KU: Note there are 2 Ford Circuits (Customer owned but LGE maintained not in this count)

## Circuits by voltage & phase
Energy Delivery - Asset Information
Circuit Miles by Voltage
| Circuit Miles | [6 empty] | Circuit Miles
|  | LG&E OH Miles | LG&E UG Miles | KU OH Miles | KU UG Miles | ODP OH Miles | ODP UG Miles |  | LG&E OH Miles | LG&E UG Miles | KU OH Miles | KU UG Miles | ODP OH Miles | ODP UG Miles
| 1 Phase | 1949.7193 | 1911.7853 | 7675.8918 | 1856.5943 | 755.0987 | 23.1277 | Less than 22kv | 3775.5152 | 2370.3324 | 12690.0165 | 2228.6777 | 1048.2546 | 34.4727
| 2 Phase | 116.8531 | 0.872 | 540.1741 | 30.48 | 29.401 | 0.031779 | 22kv or greater | 53.2685 | 0.15516 | 129.1249 | 0 | 75.9513 | 0.074593
| 3 Phase | 1819.7737 | 457.8227 | 4742.5628 | 343.3355 | 350.8194 | 11.4417 | Dead or unknown | 57.8588 | 0.15833 | 155.5954 | 2.0363 | 13.4948 | 0.072363
| Unknown | 0 | 0.16596 | 8.7443 | 0.30407 | 0.79055 | 0.018471
| Neutral | 0.29645 | 0 | 6.8398 | 0 | 1.591 | 0 | Circuit Miles
| Supervisery | 0 | 0 | 0.52406 | 0 | 0 | 0 |  | LG&E OH Miles | LG&E UG Miles | KU OH Miles | KU UG Miles | ODP OH Miles | ODP UG Miles
[8 empty] | Less than 11kv | 2047.0925 | 1923.8689 | 3498.9778 | 516.4163 | 218.1024 | 4.8099 | 8209.2677 | 36.27%
| Total | 3886.6426 | 2370.6459 | 12974.7368 | 2230.7139 | 1137.7007 | 34.6197 | 12kv - 16kv | 1728.4227 | 446.4635 | 9191.0388 | 1712.2614 | 830.1522 | 29.6629 | 13938.0015 | 61.58%
[8 empty] | 17kv-35kv | 53.2685 | 0.15516 | 129.1249 |  | 75.9513 | 0.074593 | 258.5745 | 1.142%
[8 empty] | Dead or Unknown | 57.8588 | 0.15833 | 155.5954 | 2.0363 | 13.4948 | 0.072363 | 229.2159 | 1.013%
[14 empty] | total | 22635.0596 | 100%
| Conductor Miles | [6 empty] | Circuit Miles
|  | LG&E OH Miles | LG&E UG Miles | KU OH Miles | KU UG Miles | ODP OH Miles | ODP UG Miles | Class | KU OH | KU UG | ODP OH | ODP UG | LGE OH | LGE UG | Total | Percentage
| 1 Phase | 1949.7193 | 1911.7853 | 7675.8918 | 1856.5943 | 755.0987 | 23.1277 | 5kV | 1193.3948 | 61.7691 | 30.9648 | 0.065125 | 203.6392 | 23.9744 | 1513.8074 | 6.688%
| 2 Phase | 233.7062 | 1.744 | 1080.3481 | 60.9601 | 58.802 | 0.063558 | 15kV | 11496.6217 | 2166.9086 | 1017.2898 | 34.4076 | 3571.876 | 2346.3581 | 20633.4618 | 91.16%
| 3 Phase | 5459.3212 | 1373.4682 | 14227.6884 | 1030.0065 | 1052.4583 | 34.3252 | 25kV | 0 | 0 | 37.8092 | 0.074593 | 0 | 0 | 37.8838 | 0.1674%
| Unknown | 0 | 0.16596 | 8.7443 | 0.30407 | 0.79055 | 0.018471 | 35kV | 129.1249 | 0 | 38.1422 | 0 | 53.2685 | 0.15516 | 220.6908 | 0.975%
| Neutral | 0.29645 | 0 | 6.8398 | 0 | 1.591 | 0 | 44kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
| Supervisery | 0 | 0 | 0.52406 | 0 | 0 | 0 | Unk/Dead | 155.5954 | 2.0363 | 13.4948 | 0.072363 | 57.8588 | 0.15833 | 229.2159 | 1.013%
| Total | 7643.0432 | 3287.1634 | 23000.0365 | 2947.8649 | 1868.7406 | 57.535 |  | 12974.7368 | 2230.7139 | 1137.7007 | 34.6197 | 3886.6426 | 2370.6459 | 22635.0596 | 100%
this line include voltages of 2.4, 4.16 & 7.2; 7.2 is a part of the 12 kv system & the "class of 15kv, however it is included in the less than 11 kv in this becuase it's a single phase voltage